# SECTION 01200 PROJECT MEETINGS

## PART 1 - GENERAL

### REQUIREMENTS INCLUDED

    - Owner shall schedule and administer preconstruction meeting, periodic progress meetings, and specially called meetings throughout progress of the Work.

      - Prepare agenda for meetings.

      - Distribute written notice of each meeting four days in advance of meeting date.

      - Make physical arrangements for meetings.

      - Preside at meetings.

      - Record the minutes; include significant proceedings and decisions.

      - Reproduce and distribute copies of minutes within three days after each meeting.

        - To participants in the meeting.

        - To parties affected by decisions made at the meeting.

    - Representatives of contractors, subcontractors and suppliers attending  meetings  shall be qualified and authorized to act on behalf of the entity each represents.

  - RELATED REQUIREMENTS

    - Instructions to Bidders:  Pre-Bid Conferences.

    - Section 01340:  Shop Drawings, Product Data and Samples.

    - Section 01700:  Contract Closeout.

  - PRE-CONSTRUCTION MEETING

    - Schedule within 20 days after effective date of the agreement.

    - Location:  A central site, convenient for all parties, designated by the Owner.

    - Attendance:

      - Owner's Representative.

      - Engineer and his professional consultants.

### Resident Project Representative.

      - Contractor's Superintendent.

      - Major Subcontractors.

      - Others as Appropriate and approved by the Owner.

    - Suggested Agendum:

      - Distribution and discussion of:

        - List of major subcontractors and suppliers.

        - Projected Construction Schedules.

      - Critical work sequencing.

      - Major equipment deliveries and priorities.

      - Project Coordination.

        - Designation of responsible personnel.

      - Procedures and processing of:

        - Field decisions.

        - Proposal requests.

        - Submittals.

        - Change Orders.

        - Applications for Payment.

      - Adequacy for distribution of Contract Documents.

      - Procedures for maintaining Record Documents.

      - Use of premises.

        - Office, work and storage areas.

        - Owner's requirements.

      - Construction facilities, controls and construction aids.

      - Temporary utilities.

      - Safety and first-aid procedures.

      - Security procedures.

      - Housekeeping procedures.

      - Miscellaneous.

  - PROGRESS MEETINGS

    - Schedule regular periodic meetings, as required.

    - Hold called meetings as required by progress of the Work.

    - Location of the meetings: Project field office of the Contractor or other site directed by the Engineer.

    - Attendance:

      - Engineer, and his professional consultants as needed.

      - Subcontractors as appropriate to the agenda.

      - Suppliers as appropriate to the agenda.

      - Others.

    - Suggested Agenda:

      - Review, approval of minutes of previous meeting.

      - Review of Work progress since previous meeting.

      - Field observations, problems, conflicts.

      - Problems which impede Construction Schedule.

      - Review of off-site fabrication, delivery schedules.

      - Corrective measures and procedures to regain projected schedule.

      - Revisions to Construction Schedule.

      - Progress, schedule, during succeeding work period.

      - Coordination of schedules.

      - Review of submittal schedules; expedite as required.

      - Maintenance of quality standards.

      - Pending changes and substitutions.

      - Review proposed changes for:

        - Effect on Construction Schedule and on completion date.

        - Effect on other contracts relating to the project.

      - Review of record drawings.

      - Other business.

PART 2 - PRODUCTS

Not used.

PART 3 - EXECUTION

Not used.

END OF SECTION 01200