# SECTION 01340

SHOP DRAWINGS, PRODUCT DATA AND SAMPLES

## PART 1 - GENERAL

### REQUIREMENTS INCLUDED

Submit Shop Drawings, Product Data and Samples required by Contract  Documents.

  - RELATED REQUIREMENTS

    - Definitions and Additional Responsibilities of Parties:  Conditions of the Contract.

    - Section 01700:  Contract Closeout.

  - SHOP DRAWINGS

    - Drawings shall be presented in a clear and Thorough manner.

      - Details shall be identified by reference of sheet and detail or schedule.

    - Minimum sheet size:  8½ X 11 inches.

  - PRODUCT DATA

    - Preparation

      - Clearly mark each copy to identify pertinent products or models.

      - Show performance characteristics and capacities.

      - Show dimensions and clearances required.

      - Show wiring or piping diagrams and controls.

    - Manufacture's standard schematic drawings and diagrams:

      - Modify drawings and diagrams by deleting information which is not applicable to the work.

      - Supplement standard information to provide information specifically applicable to the work.

  - CONTRACTOR RESPONSIBILITIES

    - Review Shop Drawings, Product Data and Samples prior to submission.

    - Determine and verify:

      - Field measurements.

      - Field construction criteria.

      - Catalog numbers and similar data.

      - Conformance with specifications.

    - Coordinate each submittal with requirements of the Work and of the Contract Documents.

    - Notify the Engineer in writing, at time of submission, of any deviations in the submittals from requirements of the contract Documents.

    - Begin no fabrication or work which requires approved submittals until return of submittals by Engineer

  - SUBMISSION REQUIREMENTS

    - Make submittals in such sequence as to cause no delay in the work.

    - Number of submittals required:

      - Shop Drawings and Product Data:  Submit four (4) copies.

      - Samples:  Submit the quantity stated in each specification section.

    - Submittals shall contain:

      - The date of submission and the dates of any previous submissions.

      - The Project title and number.

      - Contract identification.

      - The names of:

        - Contractor

        - Supplier

        - Manufacturer

      - Identification of the product, with the specification section number.

      - Field dimensions, clearly identified as such.

      - Relation to adjacent or critical features of the work or materials.

      - Applicable standards, such as ASTM or Federal specification numbers.

      - Identifications of deviations from Contract Documents.

      - Identification of revisions on resubmittals.

      - An 8-inch X 3.5-inch blank space for Contractor and Engineer stamps.

      - CONTRACTOR'S stamp intitialed or signed, certifying to review of submittal,	verification	of	products,	field	measurements	and	field

construction criteria and coordination of the information within the submittal with requirements of the Work and of Contract Documents.

  - RESUBMISSION REQUIREMENTS

    - Make any corrections or changes in the submittals noted by the Engineer and resubmit unless otherwise noted.

    - Shop Drawings and Product Data:

      - Revise initial drawings or data, and resubmit as specified for the initial submittal.

      - Indicate any changes which have been made other than those suggested by the Engineer.

    - Samples:  Submit new samples as required for initial submittal.

  - ENGINEER'S DUTIES

    - Review submittals within 30 days or in accord with schedule.

    - Affix stamp and initials or signature, and indicate status of submittal.

    - Return submittals to Contractor for distribution, or resubmission.

    - Review initial submittals and one resubmittal. Resubmittals that cannot be approved will be returned. Additional resubmittals will be reviewed by the Engineer, and costs for time and materials for reviewing resubmittals will be back charged by the Engineer to the Contractor.

END OF SECTION 01340