# SECTION 01410

TESTING LABORATORY SERVICES

## PART 1 - GENERAL

### REQUIREMENTS INCLUDED

    - The Owner will employ services of an Independent Testing Laboratory to perform specified testing.

      - Contractor shall cooperate with laboratory to facilitate the execution of its required services.

  - LIMITATIONS OF AUTHORITY OF TESTING LABORATORY

    - Laboratory is not authorized to:

      - Release, revoke, alter or enlarge on requirements of Contract Documents.

      - Approve or accept any portion of the Work.

      - Perform any duties of the Contractor.

  - CONTRACTOR'S RESPONSIBILITIES

    - Cooperate with laboratory personnel and/or Engineer, provide access to Work or manufacturer's operations.

    - Secure and deliver to the laboratory adequate quantities of representational samples of materials proposed to be used and which require testing.

    - Provide to the laboratory the preliminary design mix proposed to be used for concrete, and other material mixes which require control by the testing laboratory.

    - Furnish copies of Products test reports as required.

    - Furnish incidental labor and facilities:

      - To provide access to Work to be tested.

      - To obtain and handle samples at the Project site or at the source of the product to be tested.

      - To facilitate inspections and tests.

      - For storage and curing of test samples.

    - Notify the Engineer sufficiently in advance of operations to allow for laboratory assignment of personnel and scheduling of tests:

When tests or inspections cannot be performed after such notice, reimburse Owner for laboratory personnel and travel expenses incurred due to Contractor's negligence.

    - Make arrangements with the Engineer and the laboratory and pay for additional samples and tests required for Contractor's convenience.

PART 2 - PRODUCTS

Not used.

PART 3 - EXECUTION

  - PAYMENT

    - Testing of materials and products will be performed by an independent testing laboratory appointed and paid for by the Owner. Testing will be performed so as to least encumber the performance of Work.

    - The Owner will authorized the cost of one (1) series of tests only, on the area or item being evaluated. The Contractor shall pay for costs of additional testing as required due to improper performance of Work.

    - When work of this contract or portions of work are completed, notify the Engineer so that arrangements can be made with the laboratory to perform or witness the  tests. Do not proceed with additional portions of Work until results have been verified.

END OF SECTION 01410