# SECTION 01570 TRAFFIC CONTROL

## PART 1 - GENERAL

### REQUIREMENTS INCLUDED

    - Provide, operate and maintain equipment, services and personnel, with traffic  control and protective devices, as required to expedite vehicular traffic flow around the construction area.

    - Remove temporary equipment and facilities when no longer required, restore grounds to original, or to specified conditions.

  - REFERENCES

Traffic regulation shall be in accordance with F.D.O.T. Roadway and Traffic Design Standards Series 600, 1991 Edition, Manual on Uniform Traffic Control Devices, 1988 Ed., and FDOT Standard Specifications, latest Ed.

  - TRAFFIC CONTROL PLAN

    - The Contractor is to prepare a traffic control plan and/or policy statement for each phase of construction. This plan is to be presented to the City Engineer at or before the pre-construction meeting.

    - All proposed traffic control plans and policy statements shall be complete and in compliance with Section 1.02.

  - TRAFFIC SIGNALS AND SIGNS

    - Provide and operate traffic control and directional signals required to direct and maintain an orderly flow of traffic in all areas under Contractor's control, or affected by Contractor's operations.

    - Provide traffic control and direction signs, post mounted, at all areas required by Section 1.02.

    - Traffic Signals - Construction requiring traffic signal modification shall be reported to the City Engineer at least 72 hours prior to the commencement of such activities. All excavation work within 30 feet of any traffic signal shall be reported to the City Engineer at least 72 hours prior to its commencement.

### All existing traffic signs shall remain visible throughout construction activities unless superseded by required construction signing.

  - FLAGMEN

Provide qualified and suitably equipped flagmen when construction operations encroach on traffic lanes, as required for regulation of traffic (See Section 1.02).

  - FLARES AND LIGHTS

    - Provide lights as required by Section 1.02.

      - To clearly delineate traffic lanes and to guide traffic as required in Section 1.02

      - For use by flagmen in directing traffic.

    - Provide illumination of critical traffic and parking areas as required in Section 1.02.

  - CONSTRUCTION PARKING CONTROL

    - Control vehicular parking to preclude interference with public traffic or parking, access by emergency vehicles, Owner's operations, or construction operations.

    - Monitor parking of construction personnel's private vehicles.

      - Maintain free vehicular access to and through parking areas and driveways.

      - Prohibit parking on or adjacent to access roads, or in non-designated areas.

  - CONSTRUCTION VEHICLES

    - All slow moving construction vehicles shall have a slow moving sign visible from the rear of the vehicle.

    - All vehicles used for construction activities shall have audible back-up warning devices.

  - ROAD CLOSURES

    - No road shall be closed prior to receiving approval from the City Engineer.

    - At least seven days prior to a proposed road closure, the contractor shall submit to the City Engineer a complete traffic control plan. This plan shall include the following minimum information:

      - Sketch of work site and all area roads, streets and mark driveways.

      - Proposed detour route.

      - All necessary traffic control devices to be used.

      - Emergency contractor contact person name and phone to be available 24 hours a day.

      - Estimated times/dates of road closure.

    - The City Engineer shall have the authority to approve an emergency road closure.

PART 2 - PRODUCTS

- All traffic control devices shall meet or exceed FDOT certification standards.

- All traffic signs shall have high intensity face material.

PART 3 - EXECUTION

- Upon notification by the owner either verbally or in writing, the contractor shall correct any noted deficiencies within one hour.

- Inspection of all traffic control items shall be accomplished at least twice per day. One of these inspections shall be at the end of the work day or at night.

END OF SECTION 01570