# SECTION 01600 MATERIAL AND EQUIPMENT

## PART 1 - GENERAL

### REQUIREMENTS INCLUDED

    - Products.

    - Workmanship.

    - Manufacturer's Instructions.

    - Transportation and Handling.

    - Storage and Protection

    - Substitutions and Product Options.

  - RELATED REQUIREMENTS

    - Section 01010:  Summary of Work.

    - Section 01020:  Allowances.

    - Section 01090:  Reference Standards.

    - Section 01340:  Shop Drawings, Product Data and Samples.

    - Section 01630:  Substitutions and Product Options.

    - Section 01700:  Contract Closeout.

  - PRODUCTS

    - Products include material, equipment, and systems.

    - Comply with Specifications and referenced standards as minimum requirements.

    - Components required to be supplied in quantity within a Specification section shall be the same, and shall be interchangeable.

### WORKMANSHIP

    - Comply with industry standards except when more restrictive tolerances of specified requirements indicate more rigid standards or more precise workmanship.

    - Perform work by persons qualified to produce workmanship for specified quality.

    - Secure Products in place with positive anchorage devices designed and sized to withstand stresses, vibration, and racking.

  - MANUFACTURER'S INSTRUCTIONS

    - When work is specified to comply with manufacturer's instructions, submit copies  as specified in Section 01340, and distribute copies to persons involved, and maintain one set in field office.

    - Perform work in accordance with details of instructions and specified requirements. Should a conflict exist between Specifications and instructions, consult with the Engineer.

  - TRANSPORTATION AND HANDLING

    - Provide equipment and personnel necessary to handle products, including those provided by Owner, by methods to prevent soiling or damage to products or packaging.

    - Provide additional protection during handling as necessary to prevent scraping, marring or otherwise damaging products or surrounding surfaces.

    - Handle products by methods to prevent bending or overstressing.

    - Lift heavy components only at designated lifting points.

  - STORAGE AND PROTECTION

    - Store Products in accordance with manufacturer's instructions, with seals and labels intact and legible. Store sensitive Products in weather-tight enclosures and maintain within temperature and humidity ranges required by manufacturer's instructions.

    - For exterior storage of fabricated Products, place on supports above ground. Cover Products subject to deterioration with impervious sheet covering; and provide ventilation to avoid condensation.

    - Store loose granular materials on solid surfaces in a well-drained area; prevent mixing with foreign matter.

    - Arrange storage to provide access for inspection. Periodically inspect to assure Products are undamaged, and are maintained under required conditions.

    - After installation, provide coverings to protect Products from damage from traffic and construction operations.  Remove when no longer needed.

    - During such periods of time that are designated by the United States  Weather Bureau as being a hurricane warning or alert, construction materials or equipment shall be secured against displacement by wind forces.

PART 2 - PRODUCTS

Not used.

PART 3 - EXECUTION

Not used.

END OF SECTION 01600